## Bugs
Page | S No. | Bug Details | Steps to reproduce | Category | Severity | Priority | Expected behaviour | Actual Result
E V E N T S | EV_BUG_01 | Category text "Instantaneous" is clipped | Events > Event 38 > Sag on AHU-04 Air Handler Feed > Category text | UI/Display | Low | Low | Font size or spacing should be adjusted to display text within margins | Category text is clipped
| EV_BUG_02 | Events date filter includes records from one day before the selected start date | 1. Navigate to Events page. 2. Set From = 08/15/2026. 3. Set To = 08/16/2026. 4. Review the filtered event table. | Functional | Medium | High | Only events occurring between Aug 15, 2026 and Aug 16, 2026 should be displayed. | Events from Aug 14, 2026 are also displayed. | Reproduced with multiple date ranges
| EV_BUG_03 | No validation when From date is later than To date | Set From = Aug 6, 2026 and To = Aug 1, 2026 | Functional/Input Validation | Low-Medium | Medium | The system should either restrict the To date based on the From date or clearly inform the user that the selected date range is invalid. | The system accepts From > To and treats it like a valid filter that happens to return zero records.
| EV_BUG_04 | From/To date picker allows selection of years indefinitely outside the supported data range | 1. Navigate to the Events page. 2. Click the calendar icon for the From or To date. 3. Open the year/month selection. 4. Scroll through the available years. 5. Continue scrolling toward past or future years. | UI/UX / Input Validation | Low | Medium | The date picker should restrict date selection/navigation to the supported event-data range or to reasonable configured minimum and maximum dates. | The year selector continues allowing navigation through years indefinitely, including dates far outside the application's available event data.
Devices | DV_BUG_05 | Active Alarms column does not provide sorting while other device table columns are sortable | Open Devices page → observe sortable columns → attempt to sort by Active alarms. | UI/Functional consistency | Low | Low-Medium | If table columns are intended to support sorting consistently, clicking Active alarms should allow ascending/descending sorting by alarm count. | No sorting control/functionality is available for the Active alarms column, while the other displayed data columns support sorting.
| DV_BUG_06 | Device Details – Current Readings do not update automatically for online devices | Open any device -> Check the readings and timestamp updating or the values remain still | UI/Stale Presentation | Medium | Low-Medium | The Current Readings section should update within some time and the values should update with the latest data. The same functionality is already implemented at Dashboard page. | For an Online device, the Current Readings section retains the measurement timestamp and values captured when the Device Details page was loaded. New readings are displayed only after manually refreshing the browser. the section is explicitly called "Current readings", and the device is shown as Online. A user monitoring power quality could reasonably interpret "Current readings" as current/live data. If the data remains frozen indefinitely until the user manually refreshes the browser, they could unknowingly be looking at stale measurements. | The fact that the Dashboard already implements automatic polling makes this finding even more relevant from a consistency standpoint.
| DV_BUG_07 | Device Details - Voltage B and Voltage C readings are not highlighted when exceeding configured maximum voltage threshold | 1. Open an online device. 2. Change Maximum Voltage to 470 V. 3. Save the settings. 4. Wait for new readings / refresh the page. 5. Observe Voltage A, B and C. 6. Compare each reading against the configured 470 V maximum. | UI/functional consistency | Medium | Low-Medium | Any phase voltage exceeding the configured maximum voltage threshold should display (turn RED) the application's out-of-range visual indication consistently. | Voltage A = 472.2 V is displayed in red, while Voltage B = 479.9 V and Voltage C = 478.3 V remain normal despite also exceeding the 470 V maximum threshold. | In a power-quality monitoring application, showing A as abnormal while B and C are even further above the configured threshold could mislead an operator. | Also, I was expecting 3 separate Alarms to be generated instead of 1
| DV_BUG_08 | Device Details - Alarm lifecycle: Voltage alarm is not re-triggered after previous alarm is resolved and voltage exceeds configured maximum threshold | 1. Open an online device. 2. Change Maximum Voltage to 528 V. 3. Save the settings. 4. Wait for new readings / refresh the page. 5. Observe Voltage A, B and C. 6. Compare each reading against the configured 528 V maximum. 7. Wait for few minutes, refresh the page and check if the old voltage alarm got resolved. If not, manually resolve the alarm from Alarms page 8. On the device page, Change the Max voltage again to 430 V. 9. Wait for few minutes, refresh the web page and check wether new Voltage alarm got logged in the Alarm table. | Functional | High | Medium | Alarm status should reflect the current threshold condition. Once voltage readings return within the configured threshold, the active voltage alarm should resolve according to the configured alarm lifecycle. If alarm is manually resolved from the Alarms page and If voltage subsequently violates the threshold again, a new alarm should be generated/reactivated according to the application's alarm rules. | A Voltage alarm was initially generated after reducing the maximum voltage threshold. After restoring the threshold to 528 V, where incoming readings were within the configured limit, the existing alarm remained Active. After subsequently resolving the Voltage alarm from Alarms section and reducing the maximum voltage threshold to 430 V, current voltage exceeded the threshold and Voltage A was highlighted red, but no new Voltage alarm was generated. | same issue is happening with the THD-V, THD-I, Power Factor, Frequency as well

## EVENTS
Page | SNo. | Test Scenarios | Steps | Expected | Result
EVENTS PAGE | TC-01 | Verify event details match the event table. | Navigate to Events → note the event information → open the event → compare the detail page against the table. | Type, magnitude, duration, category, affected phases, ITIC result and device information should be consistent between the Events table and event-detail page. | PASS
| TC-02 | Verify filtering by a specific Event Type - Sag, Swell, Interruption, RVC | Select any of Sag, Swell, Interruption, RVC from the event type filter dropdown | Only events with the selected Event Type should be displayed | PASS
| TC-03 | Verify resetting Event Type filter | Change Event Type from a specific value back to All | Events of all available types are displayed again | PASS
| TC-04 | Verify Duration Category filter for all available values - i.e. Instantaneous, Momentary, Temporary, Sustained | Select each category one by one: Instantaneous, Momentary, Temporary, Sustained | For each selected category, only events belonging to that category should be displayed. | PASS
| TC-05 | Verify resetting Duration Category | Select a duration category → change it back to All | Events from all duration categories are displayed again | PASS
| TC-06 | Verify behavior when selected Duration Category has no matching events | Navigate to Events → select Sustained from Duration Category | Application should show a clear no-results state, no events should be plotted/displayed, and an option to clear filters should be available | PASS
| TC-07 | Verify combination of Event Type and Duration Category filters | Select an Event Type (e.g., Sag) → select a Duration Category (e.g., Instantaneous) | Only events matching both selected criteria should be displayed. All displayed records should have Type = Sag and Category = Instantaneous. | PASS
| TC-08 | Verify Phase filter for all available values | Select L1, L2, and L3 one at a time from Phase filter, then select All | For each selected phase, only events involving that phase should be displayed. Selecting All should display events irrespective of phase. | PASS
| TC-09 | Verify combination of Event Type + Phase | Select Event Type = Sag → select Phase = L2 | Only Sag events involving L2 should be displayed. | PASS | try other possible combinations as well
| TC-10 | Verify combination of Event Type + Duration Category + Phase | Select Event Type = Sag → Duration = Instantaneous → Phase = L1 | Only events satisfying all three criteria should be displayed: Sag + Instantaneous + involving L1. | PASS | try other possible combinations as well
| TC-11 | Verify ITIC Result filter | Select Pass, then Fail, one at a time | When Pass is selected, all displayed events should have ITIC = Pass. When Fail is selected, all displayed events should have ITIC = Fail. | PASS
| TC-12 | Verify Event Type + ITIC Result combination | Select Event Type = Sag → ITIC Result = Fail | Only Sag events having ITIC result Fail should be displayed. | PASS
| TC-13 | Verify Phase + ITIC Result combination | Select Phase = L2 → ITIC Result = Pass | Only events involving L2 with ITIC result Pass should be displayed. | PASS
| TC-14 | Verify Device filter contains all available devices | Open Device dropdown and compare available devices with the Devices section | All 26 devices should be available in the Device filter with no missing or duplicate devices | PASS
| TC-15 | Verify filtering events by a specific Device | Select a device, e.g. CAP-18 Capacitor Bank | Only events belonging to the selected device should be displayed. Graph and event table should reflect the filtered results | PASS
| TC-16 | Verify Device + Event Type combination | Select CAP-18 Capacitor Bank → Event Type = Sag | Only Sag events belonging to CAP-18 Capacitor Bank should be displayed | PASS
| TC-17 | Verify multiple filters with Device | Select Device + Event Type + Duration Category + ITIC Result, using a combination known to have results | Every displayed event should satisfy all selected filter criteria; if no records match, the appropriate no-results message should be displayed | PASS
| TC-18 | Verify ITIC graph updates according to applied filters | 1. Note the initial ITIC graph plots. 2. Apply any filter such as Event Type, Duration, Phase, ITIC Result, or Device. 3. Observe the graph. 4. Try another filter value. | The ITIC graph should dynamically update and display only the plots corresponding to events matching the selected filter(s). Graph results should remain consistent with the filtered event table. | PASS
| TC-19 | Verify CLEAR FILTERS button enable/disable behavior | 1. Open Events page with no filters applied. 2. Verify CLEAR FILTERS is disabled/grayed out. 3. Apply any filter. 4. Verify CLEAR FILTERS becomes enabled. 5. Click CLEAR FILTERS. | With no active filters, the button should remain disabled/grayed out. Applying any filter should enable it. Clicking it should reset all filters to default values, restore the complete event list/graph, and disable the button again. | PASS
| TC-20 | Verify Rows per page functionality | 1. Navigate to the Events page. 2. Open the Rows per page dropdown. 3. Verify options 10, 15, 25, 50 are available. 4. Select each option one by one. 5. Verify the number of events displayed and pagination count. | The table should display the selected number of rows per page (10/15/25/50), or all remaining records if fewer are available. The pagination range should update accordingly (e.g., 1–15 of 284 for 15 rows). | PASS
| TC-21 | Verify valid date range filtering | Set From = Aug 10, 2026 and To = Aug 14, 2026 | Only events from Aug 10 through Aug 14, inclusive, should be displayed. Graph should also show only events within this range. | FAIL – Aug 9 events displayed | FAILING due to EV_BUG_02
| TC-22 | Verify date range across month boundary | Set From = Aug 1, 2026 and To = Aug 5, 2026 | Only Aug 1–5 events should be displayed; no July records should appear. | FAIL – July 31 events displayed
| TC-23 | Verify filtering when Start Date and End Date are the same | Set From = Aug 4, 2026 and To = Aug 4, 2026 | Only events occurring on Aug 4, 2026 should be displayed | FAIL - Events from Aug 3 and Aug 4 are displayed
| TC-24 | Verify validation when From date is later than To date | Set From = Aug 6, 2026 and To = Aug 1, 2026 | System should prevent the invalid date range or display a clear validation message such as “From date cannot be later than To date.” | FAIL - Invalid range is accepted and application displays the generic “No power quality events match your filters” message | FAILING due to EV_BUG_03
| TC-25 | Verify date range combined with another filter | Apply a valid date range + another filter, e.g. Event Type = Sag | Only Sag events occurring within the selected date range should be displayed; table and ITIC graph should reflect both filters. | PASS
| TC-26 | Verify date picker boundary validation | Open the From and To date pickers and attempt to navigate beyond the supported minimum and maximum dates | dates outside the application's supported range should be disabled or unavailable for selection. | FAIL | Failing due to EV_BUG_04

## Event_details_page
Page | SNo. | Test Scenarios | Steps | Expected | Result
EVENT DETAILS PAGE | TC-01 | Verify selected event details are displayed correctly | Open an event from the Events table and compare its details with the Event Details page | Event type, device, timestamp, duration, category, affected phases and ITIC result should match the event selected from the Events table | PASS
| TC-02 | Verify event measurement details | Open an event and verify Magnitude, Residual Voltage, Duration, Category, Affected Phases and ITIC Result | All measurement values and classifications should be populated and internally consistent for the selected event | PASS
| TC-03 | Verify RMS disturbance graph | Open an event and observe RMS voltage through the disturbance | Graph should load successfully and display L1, L2 and L3 voltage traces with time and voltage axes. Disturbance period should be visually indicated | PASS
| TC-04 | Verify graph corresponds to affected phase | Open an event with an affected phase, e.g. L2, and inspect the disturbance graph | The affected phase should show the corresponding voltage disturbance during the highlighted interval, consistent with the event information | PASS
| TC-05 | Verify Back to Events navigation | Open an Event Details page → click BACK TO EVENTS | User should return to the Power Quality Events page successfully | PASS
| TC-06 | Verify View Device navigation | Open an Event Details page → click VIEW DEVICE | Correct Device Details page corresponding to the event's device should open | PASS
| TC-07 | Verify Event Details page for different event types | Open multiple event details page from the event tables page one by one. | Correct event-specific values, classification, affected phases, ITIC result and graph should be displayed for Sag, Swell, RVC and Interruption events | PASS
| TC-08 | Verify Power quality events breadcrumb navigation | 1. Open any Event Details page. 2. Click the Power quality events link at the top of the page. | User should be successfully redirected to the Power Quality Events page, and the Events page should load correctly without errors. | PASS
| TC-09 | Verify event header/summary information | Open any event and check the event summary is correctly updated | Event type, device name, event number, Pass/Fail badge, timestamp and location should correspond to the selected event and its detailed information. | PASS
| TC-10 | Verify Magnitude and Residual Voltage consistency | Check the magnitude percentage of nominal voltage is equal to Residual Voltage | Magnitude percentage and residual voltage should correspond to the device's nominal voltage. For this event, 89.7% of 480 V ≈ 430.6 V, matching the displayed residual voltage. | PASS
| TC-11 | Verify ITIC result consistency |  | The displayed Pass/Fail result should be consistent across the page, including the header badge and ITIC Result card. | PASS
| TC-12 | Verify page behavior on browser refresh | Refresh an Event Details page directly. | The same event should reload successfully without redirecting incorrectly, losing data, or displaying an error. | PASS

## Dashboard
Page | SNo. | Test Scenarios | Steps | Expected | Result | Observations
DASHBOARD PAGE | TC-01 | Verify Dashboard loads successfully | 1. Login to the application. 2. Navigate to Dashboard. | Dashboard loads without errors and the Dashboard tab is highlighted. | PASS
| TC-02 | Verify dashboard summary cards | Verify Total Devices, Active Alarms, Devices Out of Spec, and Offline Devices cards. | All four cards display valid counts and labels correctly without truncation or overlap. | PASS
| TC-03 | Verify Total Devices count | Compare the Total Devices count on Dashboard with the total number of devices on the Devices page. | Dashboard count matches the Devices page count. Based on current test data, both should show 26. | PASS
| TC-04 | Verify Active Alarms count and severity breakdown | 1. Note the Active Alarms total. 2. Note the Critical and Warning counts. 3. Compare the total with the severity breakdown. | Active Alarms total should be consistent with the displayed severity breakdown or all additional severities should be accounted for. Calculate and match Active Alarms in the Alarms Section as a total of Critical + Warning + Info Alarms | PASS
| TC-05 | Verify Devices Out of Spec count | Compare the Devices Out of Spec count with devices having at least one active alarm. | Count matches the underlying device/alarm data and devices are not incorrectly included or excluded. | PASS
| TC-06 | Verify Offline Devices count | Compare the Offline Devices count with devices currently marked offline/not reporting. | Offline Devices count matches the actual number of devices that are not currently reporting. | PASS
| TC-07 | Verify Live Voltage graph loads | Open the Dashboard and observe the Live Voltage section. | Live Voltage graph loads successfully with voltage data and no blank or broken graph. | PASS
| TC-08 | Verify all three phases on Live Voltage graph | Verify Phase A, Phase B, and Phase C traces and legend on the graph. | All three phase traces are plotted and correspond correctly with their legend indicators. | PASS
| TC-09 | Verify Live Voltage graph axes | Verify the X-axis and Y-axis of the Live Voltage graph. | X-axis represents time for the stated last 60 minutes and Y-axis represents voltage in Volts. | PASS
| TC-10 | Verify Live Voltage automatic update | 1. Keep the Dashboard open. 2. Observe the Updated time and poll count. 3. Wait for subsequent polling. | Updated timestamp/poll count advances when new data is polled and the graph refreshes with latest readings without manual page refresh. | PASS
| TC-11 | Verify Live Voltage rolling 60-minute window | Observe the Live Voltage graph across multiple updates. | Graph maintains approximately the last 60 minutes of data as new readings arrive instead of continuously extending the time range. | PASS
| TC-12 | Verify Live Voltage device data | 1. Open Dashboard. 2. Verify the Live Voltage section identifies Device Name and Graph Readings. 3. Note the latest Phase A, B and C voltage readings from the graph. 4. Navigate to Devices → Search the device showing on the Dashboard page 5. Compare its corresponding/latest voltage readings with the Dashboard graph. | Graph represents the identified device and the plotted readings correspond to that device's voltage data. | PASS | Dashboard Live Voltage is configured to display MDP-01 Main Distribution. The displayed voltage readings were validated against the MDP-01 Device Details page and are consistent.
| TC-13 | Verify Recent Alarms section | Review the alarms displayed under Recent Alarms. | Each recent alarm displays device name, alarm description/value, severity, relative time, and timestamp correctly. | PASS
| TC-14 | Verify Recent Alarms ordering | Compare timestamps of alarms displayed in the Recent Alarms section. | Alarms are ordered from newest to oldest. | PASS
| TC-15 | Verify Recent Alarm data against Alarms page | 1. Note a Recent Alarm's device, alarm description/value, severity and timestamp. 2. Navigate to Alarms. 3. Locate the same alarm and compare the details. | Recent Alarm information should match the corresponding record on the Alarms page. | PASS
| TC-16 | Verify Critical, Warning and Info severity badges | Review severity badges for the displayed recent alarms. | Correct severity badge is displayed for each alarm and Critical/Warning/Info severities are visually distinguishable. | PASS
| TC-17 | Verify relative alarm time updates | 1. Note an alarm's relative time (e.g., 8 minutes ago). 2. Wait and observe the same alarm. | Relative time updates correctly as time passes and remains consistent with the absolute timestamp. | PASS
| TC-18 | Verify clicking a device/alarm in Recent Alarms | Click a linked device/alarm name under Recent Alarms section | User navigates to the intended corresponding details page and displayed information belongs to the selected device. | PASS
| TC-19 | Verify VIEW ALL functionality | Click VIEW ALL in the Recent Alarms section. | User is redirected to the Alarms page where the complete alarm list is available. | PASS
| TC-20 | Verify dashboard data after browser refresh | 1. Note Dashboard values. 2. Refresh the browser. | Dashboard reloads successfully and current values are retrieved without missing, duplicated, or broken components. | PASS
| TC-21 | Verify Dashboard UI at 100% browser zoom | 1. Set browser zoom to 100%. 2. Review the complete Dashboard. | Cards, graph, Recent Alarms, text, and navigation display without truncation, clipping, overlap, or unnecessary horizontal scrolling. | PASS
| TC-22 | Verify Live Voltage automatic polling | Open the Dashboard → note the current Updated time and poll count → wait for the configured refresh interval → observe the indicator and graph. | The poll count should increment, the Updated timestamp should advance when appropriate, and newly available voltage data should appear on the graph without manually refreshing the page. | PASS | Observation: Live Voltage graph updates successfully; however, plotted voltage data appears approximately 40–50 seconds behind the current system time. Confirm whether this latency is within the expected polling/refresh interval.
| TC-23 | Verify Live Voltage polling and counter reset | 1. Open Dashboard and note poll count. 2. Wait for multiple polling intervals. 3. Verify count increments. 4. Refresh the page. | Poll count increments automatically while Dashboard is active. After page refresh, polling restarts and the counter resets to its initial value (i.e., 1). Live Voltage graph continues receiving updated data. | PASS | Poll count increments correctly and resets to 1 after refreshing the Dashboard page.
| TC-24 | Verify Live Voltage polling behavior after navigating to different sections and combing back to Dashboard | 1. Open Dashboard. 2. Observe poll count. 3. Wait and verify count increments. 4. Navigate to Events. 5. Return to Dashboard. | Poll count increments while Dashboard is active. When Dashboard is reloaded/reinitialized after navigation, polling restarts from the initial count. | PASS | Poll count increments correctly and resets to 1 after returning to Dashboard. | Ask the team, if the poll count should persist accross navigation
| TC-25 | Verify Dashboard behavior when no/new data is unavailable | Verify Dashboard behavior when no/new data is unavailable | Observe Dashboard when the monitored device temporarily has no new reading/poll. | PASS

## Devices
Page | SNo. | Test Scenarios | Steps | Expected | Result
DEVICES | DEV-TC-01 | Verify Devices page loads successfully | 1. Login to the application. 2. Click DEVICES from the navigation bar. | Devices page loads successfully and the Devices tab is highlighted. | PASS
| DEV-TC-02 | Verify total number of devices displayed | 1. Open Devices page. 2. Check the total number of devices using pagination/count. 3. Compare with Dashboard Total Devices count. | Devices page contains 26 devices, matching the Dashboard Total Devices count. | PASS
| DEV-TC-03 | Verify device table columns | Review the Devices table headers. | Table displays Name, Location, Status, Active alarms, and Last reading columns correctly. | PASS
| DEV-TC-04 | Verify device information displayed in each row | Review multiple device rows and verify Name, Location, Status, Active alarms and Last reading values are populated. | Each device row displays valid information in the appropriate columns without missing or incorrectly formatted values. | PASS
| DEV-TC-05 | Verify Search devices functionality | 1. Enter a complete device name, e.g. MDP-01 Main Distribution. 2. Observe the results. | Only the matching device is displayed. | PASS
| DEV-TC-06 | Verify partial device-name search | 1. Enter a partial device name such as MDP. 2. Observe the results. | All devices matching the entered search text are displayed and unrelated devices are excluded. | PASS
| DEV-TC-07 | Verify search with no matching device | Enter a device name/text that does not exist. | No unrelated devices are displayed and an appropriate empty/no-results state is shown. | PASS
| DEV-TC-08 | Verify Search is case-insensitive | Search for the same device using different letter cases, e.g. mdp-01 and MDP-01. | Matching device is returned regardless of letter case. | PASS
| DEV-TC-09 | Verify Status filter options | Open the Status dropdown and review available options. | All supported device statuses are displayed correctly in the dropdown. | PASS
| DEV-TC-10 | Verify Status filter functionality | Select each available status one at a time and review displayed devices. | Only devices matching the selected status are displayed. | PASS
| DEV-TC-11 | Verify Search + Status filter combination | 1. Select a Status. 2. Enter a device name/partial name in Search. 3. Review results. | Only devices satisfying both Search and Status criteria are displayed. | PASS
| DEV-TC-12 | Verify Name column sorting | 1. Click the Name sort control. 2. Verify order. 3. Click again and verify reverse order. | Devices are sorted alphabetically ascending/descending according to the selected sort direction. | PASS
| DEV-TC-13 | Verify Active alarms values against Alarms page | 1. Note Active alarms count for a selected device. 2. Open the Alarms page and filter/search for that device. 3. Compare the active alarm count. | Device's Active alarms count corresponds with the active alarm data available on the Alarms page. | PASS
| DEV-TC-14 | Verify device Status against Device Details | 1. Note a device's Status on Devices page. 2. Open the device. 3. Compare its status/details. | Device status shown in the list is consistent with its Device Details page. | PASS
| DEV-TC-15 | Verify Last reading value | Observe the Last reading for multiple online/offline devices and compare with their latest available readings/details. | Last reading information accurately represents when the latest device data was received. | PASS
| DEV-TC-16 | Verify device navigation from device name | Click a device name, e.g. MDP-01 Main Distribution. | User is redirected to the corresponding Device Details page and displayed information belongs to the selected device. | PASS
| DEV-TC-17 | Verify Rows per page functionality | 1. Open Rows per page dropdown. 2. Select each available page-size option. 3. Count displayed rows. | Number of displayed devices follows the selected Rows per page value, subject to remaining records. | PASS
| DEV-TC-18 | Verify Devices pagination | 1. Keep Rows per page at 10. 2. Click Next. 3. Navigate through pages. 4. Use Previous to return. | Correct records are displayed on each page. For 26 devices at 10 rows/page, pagination progresses 1–10, 11–20, 21–26 without duplicates or missing devices. | PASS
| DEV-TC-19 | Verify pagination boundary controls | 1. Go to first page and check Previous. 2. Navigate to last page and check Next. | Previous is disabled/unavailable on the first page and Next is disabled/unavailable on the last page. | PASS
| DEV-TC-20 | Verify Devices page after browser refresh | 1. Open Devices page. 2. Note displayed device information. 3. Refresh browser. | Page reloads successfully and current device data is retrieved without missing, duplicated, or broken rows. | PASS
| DEV-TC-21 | Verify Devices page UI at 100% browser zoom | 1. Set browser zoom to 100%. 2. Review the complete Devices page. | Search, filters, table, status badges, pagination and text display without truncation, clipping, overlap or unnecessary horizontal scrolling. | PASS

## Device_details
Page | SNo. | Test Scenario | Steps | Expected | Results
DEVICE DETAILS PAGE | DET-TC-01 | Verify correct device details are displayed | 1. Open a device from the Devices page. 2. Verify device name, location, status, nominal voltage and rated current against the selected device. | The Device Details page opens for the selected device and displays the correct device identity, location, status and configured ratings. | PASS
| DET-TC-02 | Verify current readings and measurement timestamp | 1. Note the Measured timestamp. 2. Verify Voltage A/B/C, Current A/B/C, Frequency, THD-V, THD-I, Power Factor and Active Power values. 3. Refresh/revisit after new device data is received. | Current readings display valid values with correct units and correspond to the latest measurement timestamp. New readings update when new device data is received. | PASS
| DET-TC-03 | Verify current readings against configured limits | 1. Compare Voltage A/B/C with configured minimum/maximum voltage. 2. Compare current with maximum current. 3. Compare Frequency, THD-V, THD-I and Power Factor with their configured thresholds. | Displayed limits match Device Settings. Measurements outside configured thresholds are visually identified consistently with the application's alarm behavior. | PASS
| DET-TC-04 | Verify Current Readings automatically refresh | 1. Open an Online device. 2. Note the Measured timestamp and Current Reading values. 3. Keep the page open for several expected data-update intervals without refreshing. 4. Observe the timestamp and readings. 5. Refresh the browser and compare again. | For an Online device displaying Current readings, newly received device data should be reflected according to the application's intended refresh mechanism without requiring an unnecessary manual page refresh. | FAIL | FIled DV_BUG_06 for this issue
| DET-TC-05 | Verify Voltage History graph and time ranges | 1. Verify Phase A, B and C traces and legend. 2. Select LAST 1H, LAST 24H, LAST 7D and LAST 30D. 3. Verify the graph time range and plotted data after each selection. | Voltage History shows Phase A/B/C data for the selected device and refreshes to the selected time window with correct time and voltage axes. | PASS
| DET-TC-06 | Verify latest Voltage History data matches current voltage reading | 1. Note the latest Voltage A/B/C current readings and Measured timestamp. 2. Check the latest point/time in Voltage History. 3. Compare the latest available graph values with the corresponding current readings. | The latest Voltage History data corresponds to the device's latest available Voltage A/B/C readings for the same measurement time, allowing for graph display precision. | PASS
| DET-TC-07 | Verify Harmonic Spectrum data and Voltage/Current toggle | 1. Note the latest sample timestamp and total distortion. 2. Verify harmonic-order bars are displayed. 3. Switch between VOLTAGE and CURRENT. | Harmonic Spectrum loads for the selected device. Voltage mode corresponds to voltage distortion data and Current mode corresponds to current distortion data; the displayed latest sample information is consistent with the selected measurement. | PASS
| DET-TC-08 | Verify Power Quality Events for the selected device | 1. Review the Power Quality Events section. 2. Verify Start time, Type, Magnitude, Duration, Category, Phases and ITIC values. 3. Click VIEW ALL when events exist. | Only power-quality events belonging to the selected device are shown with complete event information, and VIEW ALL opens the corresponding complete event list. | PASS
| DET-TC-09 | Verify Alarm History belongs to selected device | 1. Review several Alarm History records. 2. Compare them with the Alarms page filtered/searched for the same device. | Alarm History contains alarms for the selected device and the alarm time, severity, status, measurement, threshold and actual values are consistent with the Alarms page. | PASS
| DET-TC-10 | Verify Alarm History filters | 1. Apply Severity filter. 2. Apply Status filter. 3. Apply Measurement filter. 4. Combine filters. 5. Use CLEAR FILTERS. | Alarm History returns only records matching the selected filters. Combined filters work together and CLEAR FILTERS restores the unfiltered alarm history. | PASS
| DET-TC-11 | Verify active alarm count consistency | 1. Note the active-alarm count displayed for the device. 2. Filter Alarm History to Active status or compare with the Alarms page for the same device. 3. Count/verify the active records. | The device's active-alarm count is consistent with the number of active alarms associated with that device. | PASS
| DET-TC-12 | Verify Device Settings display current configuration | 1. Compare Device name and Location with the page header/device list. 2. Verify minimum/maximum voltage, maximum current, THD-V, THD-I, minimum power factor and frequency tolerance against the limits shown elsewhere on the page. | Device Settings display the current configuration for the selected device and configured thresholds are consistent with the limits used by readings and alarms. | PASS
| DET-TC-13 | Verify saving valid Device Settings changes | 1. Change one permitted setting to a valid test value. 2. Click SAVE. 3. Refresh/reopen the device. 4. Verify the saved value. 5. Restore the original value after validation. | Valid changes are saved and persist after refresh/reopening. The updated configuration is used consistently by the device page. Original test data can be restored successfully. | PASS
| DET-TC-14 | Verify Device Settings validation protects invalid configuration | 1. Enter invalid/boundary configurations, such as minimum voltage >= maximum voltage, power factor outside 0–1, or invalid negative threshold values where applicable. 2. Attempt to save. | Invalid configuration cannot be saved and the user receives clear validation feedback. Existing valid settings remain unchanged. | PASS
| DET-TC-15 | Verify Reset Changes functionality | 1. Modify one or more Device Settings without saving. 2. Click RESET CHANGES. | Unsaved edits are discarded and all fields return to their last saved values. | PASS
| DET-TC-16 | Verify navigation back to Devices | 1. Open a Device Details page. 2. Click the Devices breadcrumb and/or BACK TO DEVICES. | User returns to the Devices page successfully without an application error. | PASS
| DET-TC-17 | Verify offline/no-data device behavior | 1. Open an Offline device and, if available, a device with No data. 2. Review Current readings, timestamp, charts, events and alarms. | The page clearly represents offline/no-data state, does not present stale data as current, and handles unavailable readings/charts without misleading values or broken components. | PASS
| DET-TC-18 | Verify if the Alarm is marked Acknowledged/Resolved from the Alarms Section, it's subsequently getting updated in Alarms table of the Device page. | 1. Open a Device from the Device's page. 2. Check the alarm listed in the Device's alarm table. 3. Navigate to the same alarm listing in the Alarm's Section. 4. Resolve/Acknowledge the alarm listing manually from the Alarm's Section page. 5. Check the Status getting updated in the Device's Alarm table | The status should get updated in the Device's Alarm table listings after changing the status from Alarm page for the same lisiting for that device. | PASS

## Login
Module | Test Case ID | Test Scenario | Preconditions | Test Steps | Expected Result | Result
Login | LOGIN-001 | Verify successful login with valid credentials | User is on the Login page and has a valid account. | 1. Enter a valid username. 2. Enter a valid password. 3. Click LOG IN. | User is authenticated successfully and redirected to the Dashboard. Login page is no longer displayed. | PASS
| LOGIN-002 | Verify login with an invalid username | User is on the Login page. | 1. Enter an invalid username. 2. Enter a valid password. 3. Click LOG IN. | Login is rejected. User remains on the Login page and an appropriate authentication error is displayed. | PASS
| LOGIN-003 | Verify login with an invalid password | User is on the Login page. | 1. Enter a valid username. 2. Enter an invalid password. 3. Click LOG IN. | Login is rejected. User remains on the Login page and an appropriate authentication error is displayed. | PASS
| LOGIN-004 | Verify login with both username and password blank | User is on the Login page. | 1. Leave Username blank. 2. Leave Password blank. 3. Observe the LOG IN button and validation behavior. | Login must not be submitted. Required-field validation is enforced and/or the LOG IN button remains disabled. | PASS
| LOGIN-005 | Verify login when username is blank | User is on the Login page. | 1. Leave Username blank. 2. Enter a valid password. 3. Attempt to log in. | Login must not be submitted successfully/ Login button must stay disabled. | PASS
| LOGIN-006 | Verify login when password is blank | User is on the Login page. | 1. Enter a valid username. 2. Leave Password blank. 3. Attempt to log in. | Login must not be submitted successfully / Login button must stay disabled. | PASS
| LOGIN-007 | Verify LOG IN button enable/disable behavior | User is on the Login page. | 1. Observe LOG IN with both fields blank. 2. Populate only Username. 3. Populate only Password. 4. Populate both required fields. | LOG IN is not actionable when required data is missing and becomes actionable when required login inputs are provided. | PASS
| LOGIN-008 | Verify password is masked while typing | User is on the Login page. | 1. Click the Password field. 2. Enter a password. 3. Observe the displayed characters. | Password characters are masked and the plain-text password is not visibly exposed in the UI. | PASS
| LOGIN-009 | Verify keyboard tab order on the Login form | User is on the Login page. | 1. Place focus at the start of the form. 2. Press Tab repeatedly. 3. Observe focus order. | Keyboard focus moves through interactive controls in a logical order, including Username, Password, and LOG IN. | PASS
| LOGIN-010 | Verify login can be submitted using the Enter key | User is on the Login page with valid credentials entered. | 1. Enter valid Username and Password. 2. Press Enter while focus is in the form. | The form is submitted and the user is logged in successfully, if Enter-key submission is supported by the form. | PASS
| LOGIN-011 | Verify authenticated user remains in the application while the session is valid | User has successfully logged in. | 1. Complete a successful login. 2. Verify the current URL/page. 3. Refresh the browser. | User remains in the authenticated application flow and is not incorrectly returned to the Login page while the session is valid. | PASS
| LOGIN-012 | Verify unauthenticated access to protected pages redirects to Login | User is signed out or has no valid session. | 1. Directly navigate to a protected URL such as /dashboard, /devices, /events, or /alarms. | Unauthenticated access is blocked and the user is redirected to the Login page. | PASS
| LOGIN-013 | Verify inactivity timeout signs the user out | User is logged in and the application supports inactivity timeout. | 1. Log in successfully. 2. Leave the session inactive for the configured timeout period. 3. Attempt to continue using the application. | The session expires after the configured inactivity period and the user is redirected to Login. | PASS
| LOGIN-014 | Verify inactivity sign-out message is displayed | A user session has expired due to inactivity. | 1. Allow the session to expire due to inactivity. 2. Observe the Login page. | The Login page displays a clear informational message such as "You were signed out due to inactivity." | PASS
| LOGIN-015 | Verify credentials are not exposed in the page URL after login attempt | User is on the Login page. | 1. Enter credentials. 2. Submit the login form. 3. Inspect the browser address bar. | Username and password values are not appended to the browser URL or query string. | PASS